**Surgical scrub up trough with high splashback**

Polished satin 304 stainless steel - 2 services

With 4 tap holes Ø 22mm, centres 150mm

Reference: **182200**

Specification description

Wall-mounted surgical scrub up trough with splashback 360mm.

Suitable for hospitals and healthcare facilities.

Bacteriostatic 304 stainless steel. Polished satin finish. Stainless steel thickness: 1.2mm.

L. 1,400mm, 2 services. With 4 tap holes Ø 22mm with 150mm centres.

Smooth surface and rounded inside edges for easy cleaning.

Drainage on the right. Without overflow. Supplied with fixing elements.

CE marked. Complies with norm EN 14296.

Weight: 24.2kg.

30-year warranty.