Wall-mounted disposal sink

Polished satin 304 stainless steel

Reference: 180170

Specification description

Wall-mounted disposal sink.

Bacteriostatic 304 stainless steel.

Polished satin finish.

Stainless steel thickness: 1.2mm.

Smooth surface for easy cleaning.

Hinged stainless steel bucket grid.

Supplied with 1¼" waste.

Without overflow.

Supplied with fixing elements.

Weight: 5.1kg.

30-year warranty.

[Formerly ref: 0711170000]