BIOSAFE mechanical basin mixer

Single hole mechanical mixer with no spout H. 95mm L. 110mm

Without pop-up waste, Copper tails

Reference: 26216

Specification description

Deck-mounted mechanical basin mixer

Single hole mechanical mixer H. 95mm L. 110mm.

No spout: hygienic flow straightener integrated into the body.

Securitouch thermal insulation prevents burns.

Ø 35mm ceramic cartridge with pre-set maximum temperature limiter.

No risk of cross flow between the hot and cold water.

No non-return valves on the inlets.

Thermal shocks are possible without removing the control lever or shutting off the cold water supply.

Body with smooth interior and very low water volume (reduces bacterial development).

Flow rate set at 5 lpm.

Solid control lever.

No pop-up waste.

Mixer with copper tails and stopcocks Ø 15mm.

Fixing reinforced by two stainless steel rods.

Mechanical mixer ideal for healthcare facilities, retirement and care homes, hospitals and clinics.

Single hole mixer suitable for people with reduced mobility.

Mixer with 30-year warranty.

Also available with PEX flexibles.