Wall-mounted SXS mechanical hand washbasin

Polished satin 304 stainless steel - Knee-operated - with upstand

Without tap

Reference: 181320

Specification description

Wall-mounted hand washbasin.

Bacteriostatic 304 stainless steel.

Stainless steel thickness: 0.8mm.

Rounded edges prevent injury.

With splashback.

Model without tap.

Complete model, with tap and premixer is available (ref. 182320).

Flat perforated waste.

Without overflow.

Supplied with fixing elements.

CE marked. Complies with European standard EN 14688.

Weight: 4.3kg.

30-year warranty.