Sleeve connector

HDPE 100/110 for TEMPOFIX 3

Reference: 578110

Specification description

HDPE 100/110 sleeve connector.

For Ø 100/110mm soil pipes.

HDPE.

30-year warranty.