**Sleeve connector**

HDPE 100/110 for TEMPOFIX 3

Reference: **578110**

Specification description

HDPE 100/110 sleeve connector.

For Ø 100/110mm soil pipes.

HDPE.

30-year warranty.