Exposed diverter valve

FM1/2"

Reference: 260021

Specification description

Exposed inverter allows the user to switch between using the shower head or the handset.

Chrome-plated brass.

1/2" inlet.