**Offset connectors**

From 12mm, standard, STOP/CHECK function

M½" - M¾", L. 62mm, 2 per pack

Reference: **855755.2P**

Specification description

Standard offset connectors with 12mm centres.

M½"-M¾".

Escutcheon Ø 65mm.

L. 62mm.

With STOP/CHECK function:

- STOP function: integrated stopcock.

- CHECK function: checks if non-return valves are watertight where fitted to mixers (DELABIE patented).

Supplied in packs of 2.

30-year warranty.