**Inline connectors**

M½"-M¾"

L. 90mm, 2 per pack

Reference: **855755UK.2P**

Specification description

Cross wall inline connectors.

M½"-M¾".

L. 90mm.

Escutcheon Ø 65mm.

Chrome-plated brass.

With STOP/CHECK function:

- STOP function: integrated stopcock.

- CHECK function: checks if non-return valves are watertight where fitted to mixers (DELABIE patented).

Supplied in packs of 2.

30-year warranty.