Wall-mounted base with removable BIOCLIP spout

For panels

Stainless steel spouts

Reference: 1804T2

Specification description

Base only with BIOCLIP removable spout, order a hands-free control to complete (knee-operated, foot-operated, electronic mixer/tap, etc.).

Supplied with 2 removable BIOCLIP stainless steel spouts with star-shaped flow straightener.

Order 10 BIOFIL fliter spouts (ref. 20040, 30040) to povide immediate protection against waterborne infection, or 2 stainless steel spouts (ref. 20002, 20003) for thorough internal cleaning and disinfection, or 15 disposable spouts (ref. 20015).

Ø 60mm base made from chrome-plated brass; for mounting on 20mm panels.

Base and spout with smooth interiors (reduces bacterial development).

30-year warranty.