Shower hose retaining collar

For shower grab bars Ø 25-35mm

Reference: 830

Specification description

Shower hose retaining collar for Ø 25 or 35mm shower riser rails and flexible hoses.

Install in addition to the shower head holder; fixes to the shower hose.

Retaining device: prevents shower head from coming into direct contact with the floor or the floor trap (source of bacterial contamination).

30-year warranty.