**UNITO wall-mounted washbasin**

Polished satin 304 stainless steel

With Ø 35mm central tap hole

Reference: **121830**

Specification description

Wall-mounted washbasin, 395 x 405mm.

Sleek and timeless design.

Bacteriostatic 304 stainless steel.

Polished satin finish.

Stainless steel thickness: 1.2mm.

Rounded edges prevent injury.

With Ø 35mm central tap hole.

Supplied with 1¼" waste.

Without overflow.

Supplied with fixings.

CE marked. Complies with European standard EN 14688.

Weight: 3.6kg.

30-year warranty.