Recessed diverter valve

FF1/2"

Reference: 260020

Specification description

Recessed diverter for switching between a shower head or hand spray.

Chrome-plated brass.

1/2" supply.

30-year warranty.