Recessed waterproof housing for SECURITHERM shower

Waterproof, kit 1/2

Recessed

Reference: 792BOX

Specification description

Waterproof housing kit 1/2:

For thermostatic shower mixer.

Partition thickness can be between 16 to 30mm.

30-year warranty.

Order with control plate reference:  792218, or the whole shower reference 792219.