**1L Tank**

For time flow soap dispensers

Reference: **729501**

Specification description

Tank for soap dispensers.

1L capacity.

F1/2" unions.

Dimensions: 225mm , Ø 89mm.

Compatible with 729XXX soap dispensers sold before 01/2025.