0.5L Tank

For time flow soap dispensers

Reference: 729500

Specification description

Tank for soap dispensers.

0.5L capacity.

F1/2" unions.

Dimensions: 169mm , Ø 74mm.

Compatible with 729XXX soap dispensers sold before 01/2025