Electronic control unit

For TEMPOMATIC 3 urinals

Battery-operated

Reference: 479446

Specification description

Electronic control unit.

For TEMPOMATIC 3 urinals.

Power supplied by 6V batteries.

Dimensions: 57 x 40 x 23mm.