**UNITO countertop washbasin**

Matte black 304 stainless steel - Countertop

Reference: **120810BK**

Specification description

Countertop washbasin, 395x350mm.

Suitable for use with wall-mounted or extended mixer/tap.

Bacteriostatic 304 stainless steel.

Stainless steel thickness: 1.2mm.

Matte black Teflon® finish.

Rounded edges prevent injury.

Without tap hole.

Supplied without waste. Waste with black finish can be added (6110BK) or chrome finish (6110).

Without overflow.

CE marked. Complies with European standard EN 14688.

Weight: 3.3kg.

30-year warranty.