**UNITO countertop washbasin**

Matte black 304 stainless steel - Countertop

Reference: **121810BK**

Specification description

Countertop washbasin, 395 x 400mm.

Bacteriostatic 304 stainless steel.

Stainless steel: 1.2mm.

Matte black Teflon® finish.

Rounded edges prevent injury.

With Ø 35mm central tap hole.

Supplied without waste. Waste with black finish can be added (6110BK) or chrome finish (6110).

Without overflow.

CE marked. Complies with European standard EN 14688.

Weight: 3.6kg.

30-year warranty.