MINI BAILA wall-mounted washbasin

Matte black 304 stainless steel

Reference: 121180BK

Specification description

Wall-mounted washbasin.

Basin internal diameter: 310mm.

Bacteriostatic 304 stainless steel.

Stainless steel thickness: 1mm.

Matte black Teflon® finish.

Rounded edges prevent injury.

With central tap hole Ø 35mm.

Supplied without waste. Waste with black finish can be added (6110BK) or chrome finish (6110).

Without overflow. Supplied with fixing elements.

CE marked. Complies with European standard EN 14688.

Weight: 4.1kg.

30-year warranty.