Solenoid valve

For the TEMPOMATIC range

M1/2" - 12V - With filter

Reference: 495626

Specification description

Solenoid valve with filter.

For products in the TEMPOMATIC range.

M½" connections.

Works with a 12V power supply.

Dimensions: 62 x 50mm.