**Solenoid valve**

For TEMPOMATIC and BINOPTIC basin ranges

MM3/8" - 12V - With filter

Reference: **495612**

Specification description

Solenoid valve with filter.

For product range TEMPOMATIC and BINOPTIC basin.

M3/8" connectors.

Works with a 12V power supply.

Dimensions: 64 x 50mm.