Ø35mm ceramic cartridge

Cartridge with base

Reference: NS262

Specification description

Ø35mm standard ceramic cartridge with base.

For product ranges:

- 2542, 2599

- 2506T2, 2506T3

- 2564Tx and 2565Tx (for models sold since 10/2020)

- 2870/2871 (for models sold since 10/2021)

For shower mixer ranges:

- 2252S (for models sold since 04/2023)

For professional catering ranges:

- 2526T2