Ø40mm ceramic cartridge

Cartridge without base

With flow rate limiter

Reference: N248AA75

Specification description

Ø40 standard ceramic cartridge with no base, with flow rate limiter.

Cartridge for the 2522 range.