Tubular swivelling spout

Over spout

H.100mm L.150mm

Reference: 963150923F

Specification description

Tubular swivelling over spout in chrome plated brass, Ø22mm, with BIOSAFE outlet.

Spout H.100mm L.150mm, with nut 3/4".

For basin mixers H9726 and 2506T1/25061T1.