Tubular swivelling spout

Under spout

H.105mm L.200mm

Reference: 943200100M

Specification description

Tubular swivelling under spout in chrome-plated brass, Ø22mm.

Swivelling spout L.200mm with brass flow straightener.

Smooth interior reduces niches where bacteria can develop.

For wall-mounted mixers, within product range 2519.