Flat swivelling under spout

Under spout

H.45mm L.150mm

Reference: 943150

Specification description

Flat swivelling under spout in chrome-plated brass, Ø22mm.

Spout H.45mm L.150mm with pre-mounted flow straightener and nut 3/4".

Smooth interior reduces niches where bacteria can develop.

For wall-mounted mixers, within product range 2446.