Fixed tubular spout

Under spout

H.45mm L.150mm

Reference: 943151

Specification description

Flat fixed under spout in chrome-plated brass, Ø22mm.

Spout H.45mm L.150mm with pre-mounted flow straightener and nut 3/4".

Smooth interior reduces niches where bacteria can develop.

For wall-mounted mixers 2456 and 794350 product ranges.