**Disposable shower kit**

Flexible shower hose L. 0.85m with blue union

25 pieces

Reference: **808B.25P**

Specification description

Disposable shower kits.

- 25 white PVC flexible shower hoses L. 0.85m with blue ABS conical unions;

- 25 white monojet shower heads, Ø 70mm: rain effect.

Ideal for healthcare facilities:

- Disposable shower kit: enables regular changing.

- Flexible hose has smooth interior and exterior: easier to maintain with fewer niches where bacteria can develop.

- Coloured conical unions: provides clear visual indication at installation and helps to ensure correct shower kit replacement.

Packaged in packs of 25.