Pre-rinse long column

With bib tap and telescopic spout

Reference: 433802

Specification description

Pre-rinse long brass column, H. 816mm.

Bib tap with swivelling, telescopic spout L.200-290mm.

Column suitable for intensive use in professional kitchens.