Flow straightener

2 units

Reference: 922016.2P

Specification description

Concealed flow straightener.

With 0-ring.

M16.5/100.

Supplied in packs of 2.

30-year warranty.