Time flow cartridge

Mechanism for TEMPOSTOP shower

Time flow ~15 seconds

Reference: 743010

Specification description

Time flow cartridge for TEMPOSTOP shower valve.

Old design.

With push-button.

For 1/2" valve.

Time flow ~15 seconds.

Adjustable flow rate.