**Time flow cartridge**

Mechanism for TEMPOCHASSE WC

Time flow ~7 sec.s

Reference: **743705**

Specification description

Time flow cartridge for TEMPOCHASSE WC valve with lever.

For WC valves 1 1/4".

Time flow ~7 seconds.