Shower cartridge

For TEMPOSOFT 2 showers and Outdoor shower column

Reference: 743743

Specification description

TEMPOSOFT cartridge:

Time flow ~30 seconds.

For 1/2'' showers.