Wall-mounted basin mixer with pressure-balancing

Wall-mounted mechanical mixer with BIOCLIP spout

Standard connectors, removable disposable spout

Reference: 2610EPS

Specification description

Wall-mounted SECURITHERM basin mixer with pressure-balancing.

Wall-mounted mixer supplied with 1 removable, disposable spout made from recyclable Hostaform® L. 125mm.

Anti-scalding safety: HW flow rate is reduced if CW supply fails (and vice versa).

Stable temperature regardless of pressure and flow rate in the system.

Securitouch thermal insulation prevents burns.

Ø 35mm ceramic cartridge with pressure-balancing and pre-set maximum temperature limiter.

Body with narrow pipes with smooth interiors, reduces bacterial development and contains a very low volume of water.

The restricted flow through the pipes considerably reduces the development of biofilm.

Thermal shocks are possible without removing the lever or shutting off the cold water supply.

Flow rate limited to 5 lpm at 3 bar.

Chrome-plated brass body.

No manual contact thanks to Hygiene control lever L. 150mm.

Mixer supplied with offset standard wall connectors.

Recommended installation height: 110 - 200mm above the top of the basin.

Filters and non-return valves.

Mechanical mixer ideal for healthcare facilities, retirement and care homes, hospitals and clinics.

Mixer suitable for people with reduced mobility.

Mixer with 30-year warranty.