Time flow cartridge

For TEMPOSTOP basin/urinal

Time flow ~7 seconds, AB anti-blocking system

Reference: 743105

Specification description

Time flow cartridge for TEMPOSTOP basin/urinal.

Time flow ~7 seconds.

AB anti-blocking system.