**Mirror cabinet with 3 functions**

Mirror, electronic soap dispenser and paper towel dispenser

Matte black melamine finish, 304 st. steel, 800mm

Reference: **510210**

Specification description

Mirror cabinet with 3 functions: mirror, electronic soap dispenser and paper towel dispenser.

Designer cabinet with a matte black melamine and 304 stainless steel finish.

Touch-free for improved hygiene: electronic soap dispenser.

Quick and easy to install:

- A single electrical connection for all the elements: mains supply with 230V / 50-60Hz.

- Concealed fixings. Mirror cabinet supplied with stainless steel screws for concrete or reinforced wood.

- Adjustable hinges.

Unit with 3 functions:

4mm thick glass mirror and black glass strip with illuminated pictograms.

Automatic soap dispenser:

- No-waste pump dispenser.

- Large capacity tank: 5 litres.

- Suitable for vegetable-based liquid soap with a maximum viscosity of 3,000 mPa.s or specific foam soap.

Paper towel dispenser:

- Dispenses one sheet at a time.

- Dimensions: 120 x 275 x 360mm.

- Contents: 500 sheets.

Basin lit by the LED strip.

Vandal-resistant model with standard DELABIE key.

Anti-blocking: stops automatically if used continuously.

Internal storage shelf.

Several cabinets can be installed side-by-side to create a mirror wall: linking screws are provided.

Dimensions: 800 x 223 x 1,000mm.

Weight: 38.5kg.

Mirror cabinet with 30-year warranty.

CE marked.