Wall-mounted soap dispenser

Liquid soap dispenser for service ducts

Polished 304 stainless steel

Reference: 729170

Specification description

Wall-mounted soap dispenser.

Service duct model for cross-wall installation, upto 190mm.

Liquid soap dispenser.

Body and push-button in polished 304 stainless steel.

Non-drip system (waterproof).

For remote tanks (tank not supplied) supplied with a 1.20m flexible tube.

Wall-mounted soap dispenser with 30-year warranty.