Deck-mounted liquid soap dispenser

Deck-mounted liquid soap dispenser

Straight spout, bright polished 304 ss

Reference: 729164

Specification description

Deck-mounted soap dispenser with straight spout.

Liquid soap dispenser.

Model for installing on washbasins.

Vandal-resistant model.

Body and push-button in bright polished 304 stainless steel.

Non-drip system (waterproof).

Discreet locking mechanism: unlocking without special tools and automatic relocking.

Refilling under the counter by changing the tank.

Supplied with 1.20m flexible tube for remote tanks.

Deck-mounted electronic soap dispenser with 30-year warranty.