TEMPOMATIC 4 electronic soap dispenser

Liquid soap, foam soap or hydroalcoholic gel dispenser

Mains, chromed 304 stainless steel, 1.2m tube

Reference: 512141P

Specification description

Wall-mounted electronic soap dispenser.

Liquid soap, foam soap or hydroalcoholic gel dispenser.

No manual contact: hands are automatically detected by infrared cell.

Spout made from chrome-plated 304 stainless steel.

No waste dose dispenser.

Separate electronic unit for installation under the basin.

Automatic soap dispenser: mains supply with 230/6V transformer.

For vegetable-based liquid soap with a maximum viscosity of 3,000 mPa.s or 3,000cP, or specialist foam soap.

Spout length: 135mm.

Supplied with 1.20m flexible tube for remote tanks (tank not supplied).

Electronic soap dispenser with 30-year warranty.

CE marked.