Dual flush button 3L/6L for TEMPOFLUX 2

Dual flush for TEMPOFLUX 2 WC

Reference: 762BUT3

Specification description

Dual flush button 3L/6L for cistern-less WC system TEMPOFLUX 2.

Fixed with hidden screws.

Ø 64mm.