Filter with mesh screen

10 filters

Reference: 60440.10P

Specification description

Filter joints with 0.3mm mesh screen for 3/8" connection.

Sold in packs of 10.