TEMPOSTOP AB

For TEMPOSTOP AB

Time flow ~ 7 seconds

Reference: 747122L

Specification description

Time flow anti-blocking valve for cross wall TEMPOSTOP AB.

Time flow ~ 7 seconds.