Swivelling spout F3/4"

H. 233mm; L. 201mm

Over spout

Reference: 963445

Specification description

Swivelling spout for TEMPOMATIC PRO mixers and taps.

Spout with flow straightener with adjustable flow straightener.

Spout H. 233mm L. 201mm.