Cartouche thermostatique de lavabo

WATER FREE SECURITHERM thermostatic cartridge

For H9600/H9605 ranges

Reference: N960WF

Specification description

WATER FREE thermostatic cartridge for basin and sink mounted mixers.

SECURITHERM cartridge  H9600/H9605 ranges, and for H9620/H9625 range.

Tested without water to comply with NHS requirements. No pre-set temperature.