Cartouche thermostatique séquentielle

SECURITHERM thermostatic cartridge

For H961x range.

Reference: N961WF

Specification description

WATER FREE thermostatic cartridge for wall-mounted sequential mixers.

SECURITHERM cartridge for H9610/H9611 range.

Tested without water to comply with NHS requirements. No pre-set temperature.