¼-turn ceramic head

For SECURITHERM thermostatic mixers

Reference: 9741TET

Specification description

1/2" ceramic head for SECURITHERM thermostatic mixers: 9741, H9716, H9726, H9739, H9752S, 792380, 792390.

¼-turn head.

Replaces the P9775.