Temperature limiter for shower mixers

For sequential shower mixers

10 parts

Reference: 9630BUT.10P

Specification description

Temperature limiter for sequential shower mixers.

Ø 46mm.

Delivered in quantities of 10.