TEMPOSTOP 2 time flow basin tap  - lead-free version

Anti-blocking version (AB) - lead-free brass

Reference: 702301LF

Specification description

Desk-mounted time flow basin tap - lead-free version.

Time flow ~7 seconds.

Pre-set flow rate at 3 l/min at 3 bar, adjustable from 1.4 to 6 l/min.

Vandal resistant scale resistant flow straightener.

Chrome-plated lead-free brass M1/2" body.

Fixing reinforced by 3 stainless steel screws.

AB anti-blocking system: water flows only when the push button is released.

30 year warranty.