TEMPOSTOP 2 time flow basin tap  - lead-free version

Lead-free brass

Lever-operated

Reference: 702400LF

Specification description

Lever-operated deck-mounted basin tap, lead-free version.

Time flow ~7 seconds.

Pre-set flow rate of 3 l/min at 3 bar, adjustable from 1.4 to 6 l/min.

Anti-vandal scale resistant flow straightener.

Chrome-plated lead-free brass body M1/2".

Fixing reinforced by back nut with 3 stainless steel screws.

Lever-operated (soft-touch operation).

30 year warranty.